MAKANA MUNICIPALITY

REQUEST FOR QUOTATIONS

WIFI Connection

RFQ NO:    08/ 2016

Quotations are hereby invited from service providers with suitable knowledge, experience and capacity to provide the items as per the specifications:-

TERMS OF REFERENCE

- Supply and install 2 X AP @ Council chamber (5GHZ network range over and above the 2.4GHZ range, 450 Mbps – 1300 Mbps, range up to 100m. 2 X Power over Ethernet

- Supply and install 1 X AP @ Mayoral Committee Room and 1 X AP Management room (5GHZ network range over and above the 2.4GHZ range, 450 Mbps – 1300 Mbps. 1 X Power over Ethernet each room.

- Wireless controller or PC based config tool to optimise the configuration. Configure the Wifi with Makana AD

- Supply, deliver, install and configure Uninterrupted Power Supply (UPS) Finance Building Server Room

| Description | Quantity |
| --- | --- |
| SSP UPS Pure Sine Wave 3.5 KvA | 1 |
| Battery Enclosure | 1 |
| 165 Ah 12dc Batteries | 4 |
| Commissioning of UPS | 1 |
| UPS maintenance | 12 |

- Supply and delivery network equipment’s

| ITEM | QUANTIY |
| --- | --- |
| Switches( 8 port) | 3 |
| External Hard Drive(2TB) | 1 |
| RJ45 & Boots | 400 |
| Single Wall boxes | 400 |
| Wind Blower(Desktops) | 1 |
| Labelling Machine | 1 |
| Loop back plug | 1 |
| UTP CAT5e cable(4Drums) | 2000m |
| Cable Ties(Small) | 1 pack |
| Cable Ties(Large) | 1 pack |
| Glue Gun(Big) | 1 |
| Cable Puller | 1 |

- Suppliers must be registered on the Municipal Database (Please state your supplier number as proof of registration)

- Price must be VAT inclusive and fixed (for all registered vendors)

- The Municipality is not obliged to accept the lowest or any quotation;

- A firm delivery period must be indicated

- All quotations will adjudicated in terms of Council’s Supply Chain Management Policy

- The following documentation must be submitted with your quote in order to be considered, failing which will lead to disqualification;

- An original valid SARS Tax Clearance Certificate

(UNLESS the bidder is registered on the Accredited Supplier Database of the municipality and the municipality has a valid original Tax clearance certificate on record. The onus is on the service provider / bidder to ensure that the municipality has a valid original Tax Clearance certificate on record (prior to submission of their quotation).

- A valid Billing Clearance Certificate from your Local Municipality

- Coy/ies of the Company registration .e.g. CK1, CK2, Trust documents, sole provider ect.

- Original certified copies of Directors Identity Documents

- An original certified copy of the B-BBEE certificate

- Completed MBD 4 form (Declaration of interest)

- Completed MBD 9 form (Certificate of Independent Bid Determination)

- Please ensure that all returnable documentation are numbered (e.g. page 1 of 5 ect) and binded in 1 (one) document;

- The quotations must be submitted on the Letterhead of your business.

- Please ensure that the returnable documentation is placed ina sealed envelope clearly indicating the RFQ NUMBER & DESCRIPTION on the envelope.

- The quotation box is located upstairs situated in the Finance Directorate, 86 High Street, Grahamstown (During normal office hours).

- Quotations that are late will not be accepted

- Quotations per fax or e-mail will also not be considered

- The evaluation criteria is 80/20

NB: BIDDERS WHO ARE IN THE SERVICE OF THE STATE WILL NOT BE CONSIDERED

Quotations must be hand delivered to the Finance Directorate.

For further inquiries contact Mr S. Kona on 046 – 6024405 (Office Hours) or email skona@makana.gov.za

Closing date: 11 April 2016 at 12H00

MS MJ MEIRING

ACTING MUNICIPAL MANAGER